Green Bank Observatory

LASSI
Software Architecture Document (SAD)
CONTENT OWNER: Nathaniel D. Sizemore (nsizemor@nrao.edu)

Version	Date	Notes/changes
0.01		Initial draft to stimulate discussion

BACKGROUND / This template is based on the Software Engineering Institute’s “View and Beyond” method for documenting software architectures, as described in Clements, et al., Documenting Software Architecture: Views and Beyond (Addison Wesley, 2002). The current version is available for free download from the SEI’s architecture web site. / TIPS FOR USING THIS TEMPLATE / To create an instance of this document: / Insert relevant information on cover sheet and in placeholders throughout. / Insert relevant information in page header: Move to a page of the body of the report, select View > Header and Footer from the main menu, and then replace relevant information in the header box at the top of the page. / To update the contents and page numbers in the Table of Contents, List of Figures, and List of Tables: / Position the cursor anywhere in the table to be updated. / Click the F9 function key. / Answer “Update entire table”. / To insert a figure or table caption: / From the main menu, choose Insert > Reference > Caption and then either Figure or Table as needed. / Click the OK button. / Add a colon and a tab stop after the figure number in the caption itself. / The caption should use the Caption style. / Add a colon and a tab stop after the table/figure number in the caption itself. / TIPS FOR MAKING YOUR DOCUMENT MORE READABLE / A gray box containing CONTENTS OF THIS SECTION is provided at the beginning of most sections and subsections. After determining what specific information will be included in your document, you can remove this gray box or leave it to serve as a quick-reference section overview for your readers. In the case that text has been provided in the template, inspect it for relevance and revised as necessary. / Consider hyperlinking key words used in the document with their entries in the Glossary or other location in which they are defined. Choose Insert > Hyperlink. / Don’t leave blank sections in the document. Mark them “To be determined” (ideally with a promise of a date or release number by which the information will be provided) or “Not applicable.” / Consider packaging your SAD as a multi-volume set of documentation. It is often helpful to break your documentation into more than one volume so that the document does not become unwieldy. There are many ways that this can be accomplished. The structuring of the document must support the needs of the intended audience and must be determined in the context of the project. Each document that you produce should include the date of issue and status; draft, baseline, version number, name of issuing organization; change history; and a summary. A few decomposition options are: / A 2-Volume approach: Separate the documentation into two volumes; one that contains the views of the software architecture and one that contains everything else. A common variant of this approach has one volume per view, and one volume for everything else. / A 3-Volume approach: Document organizational policies, procedures, and the directory in one volume, system specific overview material in a second, and view documentation in a third. / A 4-Volume approach: Create one volume for each viewtype [Clements 2002] (module, component-and-connector, allocation) that contains the documentation for the relevant views. Include all of the other information in the fourth volume. / Software interfaces are often documented in a separate volume. / In any case, the information should be arranged so that readers begin with the volume containing the Documentation Roadmap (Section 1 in this template).

# Documentation Roadmap
This document describes the LASSI software architecture, and is organized as follows:
- Section 1.1 (“Document Management and Configuration Control Information”) explains revision history. This tells you if you’re looking at the correct version of the SAD.
- Section 1.2 (“Purpose and Scope of the SAD”) explains the purpose and scope of the SAD, and indicates what information is and is not included. This tells you if the information you’re seeking is likely to be in this document.
- Section 1.3 (“How the SAD Is Organized”) explains the information that is found in each section of the SAD. This tells you what section(s) in this SAD are most likely to contain the information you seek.
- Section 1.4 (“Stakeholder Representation”) explains the stakeholders for which the SAD has been particularly aimed. This tells you how you might use the SAD to do your job.
- Section 1.5 (“How a View is Documented”) explains the standard organization used to document architectural views in this SAD. This tells you what section within a view you should read in order to find the information you seek.
## Document Management and Configuration Control Information
- Revision Number: 0.1
- Revision Release Date: TBD
- Purpose of Revision: Initial draft to stimulate discussion
- Scope of Revision: new document from SEI template.
## Purpose and Scope of the SAD
CONTENTS OF THIS SECTION: This section explains the SAD’s overall purpose and scope, the criteria for deciding which design decisions are architectural (and therefore documented in the SAD), and which design decisions are non-architectural (and therefore documented elsewhere).

This SAD specifies the software architecture for the LASSI project. All information regarding the software architecture may be found in this document, although much information is incorporated by reference to other documents.
What is software architecture? The software architecture for a system[1] is the structure or structures of that system, which comprise software elements, the externally-visible properties of those elements, and the relationships among them [Bass 2003]. "Externally visible” properties refers to those assumptions other elements can make of an element, such as its provided services, performance characteristics, fault handling, shared resource usage, and so on. This definition provides the basic litmus test for what information is included in this SAD, and what information is relegated to downstream documentation.
[1] Here, a system may refer to a system of systems.
Elements and relationships. The software architecture first and foremost embodies information about how the elements relate to each other. This means that architecture specifically omits certain information about elements that does not pertain to their interaction. Thus, a software architecture is an abstraction of a system that suppresses details of elements that do not affect how they use, are used by, relate to, or interact with other elements. Elements interact with each other by means of interfaces that partition details about an element into public and private parts. Software architecture is concerned with the public side of this division, and that will be documented in this SAD accordingly. On the other hand, private details of elements—details having to do solely with internal implementation—are not architectural and will not be documented in a SAD.
Multiple structures. The definition of software architecture makes it clear that systems can and do comprise more than one structure and that no one structure holds the irrefutable claim to being the architecture. The neurologist, the orthopedist, the hematologist, and the dermatologist all take a different perspective on the structure of a human body. Ophthalmologists, cardiologists, and podiatrists concentrate on subsystems. And the kinesiologist and psychiatrist are concerned with different aspects of the entire arrangement’s behavior. Although these perspectives are pictured differently and have very different properties, all are inherently related; together they describe the architecture of the human body. So it is with software. Modern systems are more than complex enough to make it difficult to grasp them all at once. Instead, we restrict our attention at any one moment to one (or a small number) of the software system’s structures. To communicate meaningfully about an architecture, we must make clear which structure or structures we are discussing at the moment—which view we are taking of the architecture. Thus, this SAD follows the principle that documenting a software architecture is a matter of documenting the relevant views and then documenting information that applies to more than one view.
For example, all non-trivial software systems are partitioned into implementation units; these units are given specific responsibilities, and are the basis of work assignments for programming teams. This kind of element will comprise programs and data that software in other implementation units can call or access, and programs and data that are private. In large projects, the elements will almost certainly be subdivided for assignment to sub-teams. This is one kind of structure often used to describe a system. It is a very static structure, in that it focuses on the way the system’s functionality is divided up and assigned to implementation teams.
Other structures are much more focused on the way the elements interact with each other at runtime to carry out the system’s function. Suppose the system is to be built as a set of parallel processes. The set of processes that will exist at runtime, the programs in the various implementation units described previously that are strung together sequentially to form each process, and the synchronization relations among the processes form another kind of structure often used to describe a system.
None of these structures alone is the architecture, although they all convey architectural information. The architecture consists of these structures as well as many others. This example shows that since architecture can comprise more than one kind of structure, there is more than one kind of element (e.g., implementation unit and processes), more than one kind of interaction among elements (e.g., subdivision and synchronization), and even more than one context (e.g., development time versus runtime). By intention, the definition does not specify what the architectural elements and relationships are. Is a software element an object? A process? A library? A database? A commercial product? It can be any of these things and more.
These structures will be represented in the views of the software architecture that are provided in Section 3.
Behavior. Although software architecture tends to focus on structural information, behavior of each element is part of the software architecture insofar as that behavior can be observed or discerned from the point of view of another element. This behavior is what allows elements to interact with each other, which is clearly part of the software architecture and will be documented in the SAD as such. Behavior is documented in the element catalog of each view.
## How the SAD Is Organized
CONTENTS OF THIS SECTION: This section provides a narrative description of the major sections of the SAD and the overall contents of each. Readers seeking specific information can use this section to help them locate it more quickly.

This SAD is organized into the following sections:
- Section 1 (“Documentation Roadmap”) provides information about this document and its intended audience. It provides the roadmap and document overview. Every reader who wishes to find information relevant to the software architecture described in this document should begin by reading Section 1, which describes how the document is organized, which stakeholder viewpoints are represented, how stakeholders are expected to use it, and where information may be found. Section 1 also provides information about the views that are used by this SAD to communicate the software architecture.
- Section 2 (“Architecture Background”) explains why the architecture is what it is. It provides a system overview, establishing the context and goals for the development. It describes the background and rationale for the software architecture. It explains the constraints and influences that led to the current architecture, and it describes the major architectural approaches that have been utilized in the architecture. It includes information about evaluation or validation performed on the architecture to provide assurance it meets its goals.
- Section 3 (Views”) and Section 4 (“Relations Among Views”) specify the software architecture. Views specify elements of software and the relationships between them. A view is a representation of one or more structures present in the software (see Section 1.2).
- Sections 5 (“Referenced Materials”) and 6 (“Directory”) provide reference information for the reader. Section 5 provides look-up information for documents that are cited elsewhere in this SAD. Section 6 is a directory, which is an index of architectural elements and relations telling where each one is defined and used in this SAD. The section also includes a glossary and acronym list.
## Stakeholder Representation
This section provides a list of the stakeholder roles considered in the development of the architecture described by this SAD. For each, the section lists the concerns that the stakeholder has that can be addressed by the information in this SAD.
Each stakeholder of a software system—customer, user, project manager, coder, analyst, tester, and so on—is concerned with different characteristics of the system that are affected by its software architecture. For example, the user is concerned that the system is reliable and available when needed; the customer is concerned that the architecture can be implemented on schedule and to budget; the manager is worried (in addition to cost and schedule) that the architecture will allow teams to work largely independently, interacting in disciplined and controlled ways. The developer is worried about strategies to achieve all of those goals. The security analyst is concerned that the system will meet its information assurance requirements, and the performance analyst is similarly concerned with it satisfying real-time deadlines.
This information is represented as a matrix, where the rows list stakeholder roles, the columns list concerns, and a cell in the matrix contains an indication of how serious the concern is to a stakeholder in that role.
Stakeholders for LASSI
Stakeholder Role	Concerns	Priority of Concern
Principal Scientist	Accuracy, Performance	TBD
Mechanical Engineering	Interoperability	TBD
Electrical Engineering	Interoperability	TBD
Software Development	Interoperability, modifibility	TBD
Project Manager	Performance, resource management	TBD
Observer (end users)	Usability, Accuracy, performance	TBD

## How a View is Documented
Section 3 of this SAD contains one view for each viewpoint listed in Section 1.5. Each view is documented as a set of view packets. A view packet is the smallest bundle of architectural documentation that might be given to an individual stakeholder.
Each view is documented as follows, where the letter i stands for the number of the view: 1, 2, etc.:
- Section 3.i: Name of view.
- Section 3.i.1: Primary presentation. This section presents the elements and the relations among them that populate this view packet, using an appropriate language, languages, notation, or tool-based representation.
- Section 3.i.2: Element catalog. Whereas the primary presentation shows the important elements and relations of the view packet, this section provides additional information needed to complete the architectural picture. It consists of the following subsections:
- Section 3.i.1: Elements. This section describes each element shown in the primary presentation, details its responsibilities of each element, and specifies values of the elements’ relevant properties, which are defined in the viewpoint to which this view conforms.
- Section 3.i.2: Relations. This section describes any additional relations among elements shown in the primary presentation, or specializations or restrictions on the relations shown in the primary presentation.
- Section 3.i.3: Interfaces. This section specifies the software interfaces to any elements shown in the primary presentation that must be visible to other elements.
- Section 3.i.4: Behavior. This section specifies any significant behavior of elements or groups of interacting elements shown in the primary presentation.
- Section 3.i.5: Constraints: This section lists any constraints on elements or relations not otherwise described.
- Section 3.i3: Context diagram. This section provides a context diagram showing the context of the part of the system represented by this view packet. It also designates the view packet’s scope with a distinguished symbol, and shows interactions with external entities in the vocabulary of the view.
- Section 3.i.4: Variability mechanisms. This section describes any variability that are available in the portion of the system shown in the view packet, along with how and when those mechanisms may be exercised.
- Section 3.i.5: Architecture background. This section provides rationale for any significant design decisions whose scope is limited to this view packet.
- Section 3.i.6: Relation to other view packets. This section provides references for related view packets, including the parent, children, and siblings of this view packet. Related view packets may be in the same view or in different views.
## Process for Updating this SAD
If you find omissions, errors, ambiguities, or other content that needs to be updated (particularly sections marked “TBD” or “TODO”), please contact the document author, Nathaniel D. Sizemore, at nsizemor@nrao.edu. The most recent published version of this document will be available on the LASSI SharePoint site.
# Architecture Background
## Problem Background
CONTENTS OF THIS SECTION: The sub-parts of Section 2.1 explain the constraints that provided the significant influence over the architecture.

### System Overview
CONTENTS OF THIS SECTION: This section describes the general function and purpose for the system or subsystem whose architecture is described in this SAD.

The goal of the LASSI project is to increase the available high-frequency observation time of the GBT. To do so, the project will install a commercial off-the-shelf laser metrology scanner and use data collected from this device to 1) calculate the current shape of the GBT primary reflector, 2) compare it to a desired reference shape, and 3) issue commands to the GBT monitor and control (M&C) system to change the active surface back to the desired reference surface. The LASSI software architecture is designed to control the scanner, implement a data pipeline to do needed data reduction and transformation, and interface with other GBT systems.
More details on the overall goals for LASSI are stated in the GBT Metrology ConOps document, available on SharePoint.
### Goals and Context
CONTENTS OF THIS SECTION: This section describes the goals and major contextual factors for the software architecture. The section includes a description of the role software architecture plays in the life cycle, the relationship to system engineering results and artifacts, and any other relevant factors.

The software architecture for LASSI will enable users to obtain data from the TLS scanner, use that data to calculate the surface of the disk shape, compare to a reference surface, and issue any corrections. All of these steps must be performed in wallclock time sufficient to provide more high-frequency observation time compared with making corrections using AutoOOF alone.
LASSI includes both hardware installed on the GBT structure and software that is part of the GBT’s M&C system. This environment places various constraints on LASSI, including the need to adhere to RFI limits and using communication protocols already in use for M&C.
For the complete context and goals, see the ConOps document, referenced in section 2.1.
### Significant Driving Requirements
CONTENTS OF THIS SECTION: This section describes behavioral and quality attribute requirements (original or derived) that shaped the software architecture. Included are any scenarios that express driving behavioral and quality attribute goals, such as those crafted during a Quality Attribute Workshop (QAW) [Barbacci 2003] or software architecture evaluation using the Architecture Tradeoff Analysis Method[S]M (ATAMSM) [Bass 2003].
[S] M Quality Attribute Workshop and QAW and Architecture Tradeoff Analysis Method and ATAM are service marks of Carnegie Mellon University.

The ConOps and Architecture Plan documents describe the envisioned plan of operation, as well as seed scenarios and use cases for LASSI.
Primary functional requirements include:
- Enabling the GBT to do more high-frequency observations; this is the ultimate driver of the project, accomplished by using the TLS scanner to reduce the time needed to calibrate the GBT for high-frequency observations.
- Ability to detect differences in the primary reflector based on consecutive measurements.
Quality attributes for this project include:
- Accuracy
  - LASSI must be able to calculate a surface that correctly models the primary reflector of the GBT to within the error budget of the scanner hardware. [TODO: fly this by Paul and Andrew]
- Performance
  - Under normal conditions, the LASSI procedure should take less than 25 minutes of wallclock time – beginning when the hardware is positioned correctly and a user requests a LASSI measurement, and ending when active surface changes are calculated and ready to be issued to the M&C system.
  - LASSI must also respect bandwidth constraints for the network; it must be a good citizen on the GBT internal network. Under normal conditions, the peak utilization is under TBD% and the average latency is below XX ms. [TODO: get firm numbers for these]
- Availability
  - [TODO: is this really a quality attribute we care about? I’m not seeing anything about it in other documents]
- Reliability
  - GBO support staff must be able to abort a TLS scan during normal operations, bringing the M&C system to a state ready to accept the next command within 30 seconds.
Constraints that this architecture must abide by include:
- Leica software interface is provided only through Microsoft .NET libraries.
- Physical mounting limitations for placing the TLS scanner on the GBT structure
- RFI constraints due to location at GBO
Architectural concerns this design should address include:
- System integration with GBT M&C (Interoperability)
- Use of software best practices
## Solution Background
CONTENTS OF THIS SECTION: The sub-parts of Section 2.2 provide a description of why the architecture is the way that it is, and a convincing argument that the architecture is the right one to satisfy the behavioral and quality attribute goals levied upon it.

### Architectural Approaches
CONTENTS OF THIS SECTION: This section provides a rationale for the major design decisions embodied by the software architecture. It describes any design approaches applied to the software architecture, including the use of architectural styles or design patterns, when the scope of those approaches transcends any single architectural view. The section also provides a rationale for the selection of those approaches. It also describes any significant alternatives that were seriously considered and why they were ultimately rejected. The section describes any relevant COTS issues, including any associated trade studies.

LASSI requires that data flow from the scanner hardware, through a series of manipulations and reductions, and end in commands to the GBT’s active surface. Since these steps must be done in order, this workflow maps to the pipe-and-filter architecture pattern. This decision is supported by the characteristics of pipe-and-filter as described in Bass et al 215 [TODO: make sure this is in the biblogrpahy]:
Data transformation systems are typically structured as pipes and filters . . . Often such systems constitute the front end of signal-processing applications. These systems receive sensor data at a set of initial filters; each of these filters compresses the data and performs initial processing (such as smoothing). Downstream filters reduce the data further and do synthesis across data derived from different sensors. The final filter typically passes its data to an application, for example providing input to modeling or visualization tools.
The description of this architecture pattern closely matches the desired behavior for LASSI, and is used as the reference architecture. However, due to the requirement to integrate with the existing GBT M&C system, the LASSI architecture has been modified from pipe-and-filter to include functionality for monitoring, control, and coordination.
### Analysis Results
CONTENTS OF THIS SECTION: This section describes the results of any quantitative or qualitative analyses that have been performed that provide evidence that the software architecture is fit for purpose. If an Architecture Tradeoff Analysis Method evaluation has been performed, it is included in the analysis sections of its final report. This section refers to the results of any other relevant trade studies, quantitative modeling, or other analysis results.

Other reference architectures were considered, including client-server, peer-to-peer, and a layered approach. However, the software engineering group determined that none of these alternatives captured the linear nature of LASSI, given both how the system was envisioned in the ConOps document and the nature of similar signal-processing procedures performed by the GBT.
To ensure that the overall approach of using COTS hardware was viable, and that the resulting data could be used as desired, multiple explorations were performed. [TODO: stick in both Fred's work and our work on producing results from both 2016 and 2019 data.]
### Requirements Coverage
CONTENTS OF THIS SECTION: This section describes the requirements (original or derived) addressed by the software architecture, with a short statement about where in the architecture each requirement is addressed.

Refer to the GBT Metrology Architecture Plan for details on the current requirements.
ID	Quality Attribute	Associated Use case	Related View
QA-1	Usability	Execute AutoOOF - GBO support staff use the current AutoOOF procedure to reduce surface RMS for the GBT antenna by using Zernike polynomials to calculate surface corrections and sending those corrections to the Antenna Control System (ACS) to adjust the antenna shape (see RD-3).	TBD
QA-2	Usability	Conduct initial TLS scan - Immediately after 4.1, GBO support staff use an Astrid script to cause the Leica scanner to scan the dish, send the resulting data to a data processor, and store the results.	TBD
QA-3	Availability	Store TLS results - During an initial TLS scan (4.2), the scan results (TBD: raw or computed?) are stored at (TBD: location).	TBD
QA-4	Interoperability	Start/Suspend Observation - GBO support staff use the existing Astrid interface to start or suspend an observation.	TBD
QA-5	Performance	Conduct TLS Scan - Sometime after 4.2, GBO support staff use an Astrid script to execute 4.2 and also compare the new results with the previous results and generate antenna corrections which are sent to the ACS. (TBD: shouldn’t a human verify the results are reasonable before they are sent to the ACS?) (TBD: how robust is the ACS to faulty inputs?)	TBD
QA-6	Performance, Accuracy	Compare TLS Results - An (TBD: algorithm) compares previous scan data to current scan data and, if required, calculates new corrections for consumption by the ACS.	TBD
QA-7	Interoperability	Change the Shape of the GBT Antenna - (TBD: the TLS system or GBO support staff) cause corrections generated in 4.5 to be sent to the ACS.	TBD
QA-8	Accuracy	Verify Results - GBO support staff use the Astrid Peak and Focus procedures to verify that the TLS-based corrections adjusted the shape of the antenna as expected (see RD-3).	TBD

### Summary of Background Changes Reflected in Current Version
CONTENTS OF THIS SECTION: For versions of the SAD after the original release, this section summarizes the actions, decisions, decision drivers, analysis and trade study results that became decision drivers, requirements changes that became decision drivers, and how these decisions have caused the architecture to evolve or change.

TBD
# Views
This section contains the views of the software architecture. A view is a representation of a whole system from the perspective of a related set of concerns [IEEE 1471]. Concretely, a view shows a particular type of software architectural elements that occur in a system, their properties, and the relations among them. A view conforms to a defining viewpoint.
Architectural views can be divided into three groups, depending on the broad nature of the elements they show. These are:
- Module views. Here, the elements are modules, which are units of implementation. Modules represent a code-based way of considering the system. Modules are assigned areas of functional responsibility, and are assigned to teams for implementation. There is less emphasis on how the resulting software manifests itself at runtime. Module structures allow us to answer questions such as: What is the primary functional responsibility assigned to each module? What other software elements is a module allowed to use? What other software does it actually use? What modules are related to other modules by generalization or specialization (i.e., inheritance) relationships?
- Component-and-connector views. Here, the elements are runtime components (which are principal units of computation) and connectors (which are the communication vehicles among components). Component and connector structures help answer questions such as: What are the major executing components and how do they interact? What are the major shared data stores? Which parts of the system are replicated? How does data progress through the system? What parts of the system can run in parallel? How can the system’s structure change as it executes?
- Allocation views. These views show the relationship between the software elements and elements in one or more external environments in which the software is created and executed. Allocation structures answer questions such as: What processor does each software element execute on? In what files is each element stored during development, testing, and system building? What is the assignment of the software element to development teams?
These three kinds of structures correspond to the three broad kinds of decisions that architectural design involves:
- How is the system to be structured as a set of code units (modules)
- How is the system to be structured as a set of elements that have run-time behavior (components) and interactions (connectors)?
- How is the system to relate to non-software structures in its environment (such as CPUs, file systems, networks, development teams, etc.)?
Often, a view shows information from more than one of these categories. However, unless chosen carefully, the information in such a hybrid view can be confusing and not well understood.

## Layer View
### Primary Presentation

### Element Catalog
- Turtle Client – user interface to the turtle server, such as AstrID.
- Turtle Server – the observation management system that loads, edits, and validates Scheduling Blocks, submits them to the telescope for execution immediately or dynamically, and monitors the progress of execution.
- AstrID – Astronomer’s Integrated Desktop
- TLS Scanner – Leica scanner hardware
- scanner enclosure – environmental housing for the TLS Scanner, and any other associated mechanical components required for operation on the GBT structure
- LASSI DAQ – software commanding the TLS scanner and transferring data to and from it. The output of this component will be data from the TLS measurement in (x, y, z, I) format.
- LASSI PP – LASSI Post-Processing: GBO-developed software that takes in point clouds from the scanner, does any required data reduction, and returns calculated Zernike coefficients that describe the GBT active surface
- Manager – software that acts as a control interface for GBT hardware
- GBT M&C – GBT Monitor and Control system
### Context Diagram

### Variability Mechanisms
None.
### Architecture Background
This structure meets the minimum viable product (MVP) described in the ConOps documentation, Appendix A. Note that as such, it does not include features such as explicitly storing the surface data as shown in Figure 3 of the ConOps.
Commanding the initial AutoOOF corrections that LASSI attempts to conform to on subsequent runs is handled by AstrID, and is not part of the LASSI architecture – the data generated from AutoOOF, however, is used by LASSI. [TODO: refine this, add details.] Similarly, while LASSI will calculate the needed Zernike polynomials to make adjustments to the shape of the prime focus, the actual corrections to the dish are made by the GBT M&C system.
### Related Views
TBD
## Component-and-Connector View
### Primary Presentation

### Element Catalog
- Turtle client – user-facing software that issues commands to the telescope; AstrID is a GUI Turtle client.
- TLS Scanner – Leica scanner hardware
- scanner enclosure – environmental housing for the TLS Scanner, and any other associated mechanical components required for operation on the GBT structure
- LASSI DAQ – software commanding the TLS scanner and transferring data to and from it. The output of this component will be data from the TLS measurement in (x, y, z, I) format.
- LASSI manager – software used to coordinate, monitor, and control the LASSI system.
- LASSI post-processing – GBO-developed software that takes in point clouds from the scanner, does any required data reduction, and returns calculated Zernike coefficients that describe the GBT active surface
- GBT M&C – GBT Monitor and Control system
### Context Diagram
TBD
### Variability Mechanisms
None.
### Architecture Background
This structure is based on the minimum viable product (MVP) described in the ConOps documentation, Appendix A. Note that as such, it does not include features such as storing the surface data as shown in Figure 3 of the ConOps.
Commanding the initial AutoOOF corrections that LASSI attempts to conform to on subsequent runs is handled by AstrID, and is not part of the LASSi architecture. Similarly, while LASSI will calculate the needed Zernike polynomials to make adjustments to the shape of the prime focus, the actual corrections to the dish are made by the GBT M&C system.
The TLS scanner should be mounted to ensure as much of the resulting data is of the primary surface, minimizes views of the ground, superstructure, etc. as much as possible.
### Related Views
TBD
## LASSI DAQ Decomposition View
### Primary Presentation

### Element Catalog
- Windows Interface – component running on Windows, used for command and control of the TLS scanner.
- PyTLS – a Python interface to the TLS scanner, allowing platform-independent communication and control of the device.
### Context Diagram

### Variability Mechanisms
None.
### Architecture Background
The LASSI DAQ is constrained by the software libraries provided by Leica to command and control the TLS scanner remotely are only for Windows. As such, the LASSI DAQ needed to be designed in such a a way that the Windows software could be used to control the hardware, while at the same time providing an interface for the rest of LASSI and the GBT M&C system, all running on Linux.
We are investigating whether the TLS scanner libraries used by the LASSI DAQ can take advantage of GPU-enabled hosts to speed up data reduction. [TODO: find out from Joe if this is possible, update accordingly.]
### Related Views
- Deployment View
- https://sharepoint.nrao.edu/pmd/projects/613%20GBT%20Metrology/Software/Architecture%20Plan/LASSI_DAQ_SAD.odt?Web=1

## LASSI DAQ Sequence View
### Primary Presentation

Lassi DAQ
Lassi Manager
Pipeline
Active
Surface

Run scan

Mount

Deploy [2.1

TLS Ready [2.3]

Start TLS Scan [2.5]

Scan Complete

Scanner TLS Data [2.6]

Scanner Data

TLS Configure [2.4]

TLS
Send configuration

Connect/Subscribe

Power up [2.2]

TLS Deployed

Status Updates[1]

Pipeline results

Update Z’s (non-ref scan only [3])

Start + Reference Scan Information

Connect/Subscribe

Scanner Data

Power down TLS [2.7]

Stow TLS [2.8]

TLS Stowed

### Element Catalog
TLS Deployment
The initial state is that the unit is in its stowed position. The interface for stow/unstow are TBD. When a measurement is requested, the TLS mount will be commanded to deploy for operation. If the use case is to leave the TLS in its deployed position between measurements, then this step will just confirm the TLS is in the deployed position.
2.2 TLS Power up
Via a remote power switch or power strip (e.g. ‘iboot bar’), power is applied to the unit. It should be noted that once shutdown, the unit should not be re-powered on for a TBD interval, to allow residual voltages to bleed off. (TODO: Why is this important? It seems that the unit if shutdown remotely, does not power back up if power is re-applied too soon. ) The unit powers up and boots up. This operation can be performed in parallel with the deployment operation.
Issue: We may need an interval timer to prevent short power-off periods.
2.3 TLS Network Connection
In order for the unit to connect onto a network, it must first be assigned an IP address via DHCP. Once assigned an address, the unit listens for broadcast messages from the LASSI DAQ program. A connection is negotiated by responding to the broadcasts with an ‘I am here’ message. The lassi_daq program will monitor and try to initiate connection after power is applied to the TLS.
2.4 Setup
The LASSI DAQ program monitors the status of the instrument. Once the lassi_daq detects a status of ready, it will proceeds to specify the measurement parameters, such as:
- range vs. speed (select range)
- distance (100m)
- scan field of view (FOV)
- number of image points
- project name
- weather temp, press, and atmospheric scale (PPM)
2.5 Execute Scan
The execute scan event is sent to the device. The device executes whatever calibrations are necessary and then begins the scan. [TODO: At this point it is unclear whether or not the time (1 PPS) input will be used to synchronize time, or whether the measure event output are used.] The LASSI DAQ monitors the scanner status to monitor scan progression.
2.6 Scan Data Transfer/Export
Once the scan is complete, calls are made to the TLS API to extract the TLS scan data, and then publishes the scan data to both the LASSI manager (which write a FITS file for archival purposes) and the post-processing programs.
[TODO: Normally the raw scan data is recorded onto an internal high speed disk. I currently do not see a mechanism to directly access this data to ‘stream’ the data.]
2.7 Scanner Power Down
Once the scan is complete, and the data has been transferred, the LASSI DAQ will issue a power-down event to the scanner, and the TLS performs an orderly shutdown. A timer will delay for a period and then remove power from the TLS unit.
2.8 TLS Retract/Stow
When requested (depending upon the use case selected) the lassi_daq will command the mount to retract/stow the unit into its weather protective enclosure.
[TODO: A question needing to be answered is what will the policy with respect to the TLS mount. Should it remain in the deployed state during the entire observing session, or retracted in between measurements. If it remains deployed, what mechanism/event stows it? Is there a risk of ‘forgetting’ its deployed?]
3.0 LASSI Interfaces
The primary interface used by both the LASSI manager and the post-processing programs is implemented using 0MQ (pronouced ‘zero-M-Q’) communications library, and the Mesgpack data encodings. The communications pattern will be via PUSH/PULL pair for commands and status requests, and PUB-SUB for asynchronous results and data.
3.1 Deploy/Retract TLS
Interface is TBD.
3.2 TLS Power Control
As an example, the ‘iboot’ remote control power strip is commanded using an HTTP protocol. The actual unit to be used for this is TBD.
3.3 Specify and Perform Scan
The scan parameters will be specified by the LASSI manager. The scan parameters and start message can be sent without waiting for the TLS deployment/power-up. The lassi_daq will handle the sequencing of the required steps.
Scan Parameters:
- Field of view (center instrument az, el and delta az, delta el)
- sensitivity
- resolution (usually specified as x mm @ 10m)
- EDM mode (speed vs. range) [TODO: define EDM]
- Remove low intensity pixels
- Remove filtered/overloaded pixels
3.4 Return/Export Data
The LASSI DAQ program will emit status periodically over the PUB-SUB connection to indicate the state of the scan. At scan completion, TLS data will be published to the PUB connection endpoint.
3.5 Scan Metadata
The following scan metadata will be returned when requesting image data:
- orientation matrix – TBD currently unused in processing
- ambient conditions (temp, press) as reported by TLS
- TLS project, scan number (Not to be confused with GBT project and scan number)
### Context Diagram
TBD
### Variability Mechanisms
None.
### Architecture Background
The LASSI DAQ was designed conforming to the following constraints:
Windows/C# Programming Environment
The lassi_daq will require a windows machine to be run on. The driver for this decision is a constraint that the TLS vendor (Leica) imposes by their application programming interface (API) libraries. The API provided supports only the C# language, running on Windows.
TLS to Host Network Configuration
The TLS and the TLS API use a ‘zero-configuration’ mechanism, where the TLS broadcasts ‘hello’ packets, and waits for the host computer to respond. This works well if the computer is directly connected to the TLS, but is incompatible with GBO site LAN systems. Thus the TLS will need to be directly connected to a host, and the host must provide DHCP services to assign an IP address to the TLS when it boots.
Threading Model
The official documentation does not specify limits on the threading environment for the API. I will note that some calls seem to be asynchronous. For example calling StartScan() returns immediately, even though the scan has yet to execute. Status queries can also be made at any time.
Looking at the ScannerAPIDemo code, I gather that many API calls are from non-UI threads/Tasks. This may require a query to Leica about thread safety of the API.
I envision a thread will be dedicated to handling the commands received via ZMQ. The same thread could also periodically gather the scanner status.
Where inter-thread communications is required, there is a ConcurrentQueue class which functions similarly to the tsemfifo template in Ygor.
### Related Views
TBD

## TLS Scanner State Machine View
### Primary Presentation
The typical state sequence (from observation) is:

### Element Catalog
The ScanDeviceInterface::get_state() method can be used to query the instruments state. The possible states are:
- Ready – The scanner is powered up and ready for a command
- Paused – The scan was running, but has been paused
- Calculating – Not sure. Computing a result?
- Imaging – Acquiring images (i.e. pictures, not ranges)
- Calibrating Tilt Sensor – I expect this means what it sounds like. As a note, the tilt sensor cannot be used in the inverted mounting position.
- Preparing Scan – Scan command has been given, but scanner is performing internal preparations to scan, like positioning mount or spinning up the mirror.
- Scanning – Scanner is acquiring range data
- Initializing – TBD
- Running – TBD
- Failure – Scanner has failed to complete an operation
### Context Diagram
TBD
### Variability Mechanisms
None.
### Architecture Background
This state machine describes the behavior of the TLS scanner’s firmware. This is a COTS component of LASSI, and is a constraint that the LASSI DAQ is designed against.
### Related Views
TBD

## LASSI Post-Processing Decomposition View
### Primary Presentation

### Element Catalog
- Data manipulation – module performing various operations to prepare data for fitting
- Fitting – module taking the difference between scans, and fitting this difference to a calculated Zernike polynomial
### Context Diagram

The arrows in the diagram above indicate the flow of data.
### Variability Mechanisms
None.
### Architecture Background
The LASSI Post-Processing component is based on Fred Schwab’s original prototyping, done with Mathematica. The TLS Scanner produces a point cloud, which then must be filtered to include only relevant parts of the scan (i.e. removing any data from the TLS Scanner that is not the surface of the primary reflector of the GBT). The LASSI Post-Processing must then smooth this data and fit a parabola to the result. The difference between the smoothed data and the fit puts the data in the direction of the bore site. Then the data is regridded to be made evenly spaced in the x-y plane. At this point, the data from this TLS measurement is considered 'processed'.
A subsequent TLS measurement is made and is processed identically. With two 'processed' measurements, we can now fit the residuals between the measurements and fit these to Zernike polynomials. These polynomials, in turn, can be used to command the Active Surface to compensate for the deformations seen between the two scans.
### Related Views
TBD

## LASSI Post-Processing Data Flow View
### Primary Presentation

### Element Catalog
Where needed, current wallclock time estimate for the element’s expected runtime is noted in parenthesis.
- Cleaning – this filter removes all data points that are not of interest, such as the ground, cross-beams, etc.
- Pre-Smoothing Filter – this filter does everything necessary before we can smooth the data, including removing additional bad points, rotations, etc.
- GPU Spherical Smoothing (~8 min) – this filter uses GPUs to convert the Cartesian data to spherical coordinates, apply a Gaussian kernel smoothing to create evenly spaced data in spherical coordinates, and return the data back to Cartesian. This effectively down-samples the data.
- Parabola Fitting – this filter fits the smoothed data to a rotated parabola, and finds the difference between this fit and the rotated data, which is the scanner data along the bore site.
- GPU Cartesian Smoothing (~3 min) – this filter uses GPUs to convert our evenly sampled image of the dish in spherical (our 'guitar pick' image) to an evenly sampled image in Cartesian (the dish as we would expect it).
- Surface residuals – this filter simply finds the difference between two processed scans
- Zernike Fitting – this filter uses the Opticspy package (http://opticspy.org/) to fit Zernike polynomials to our surface residuals.
### Context Diagram

The arrows in the diagram above indicate the flow of data.
### Variability Mechanisms
None.
### Architecture Background
The post-processing module is the most time-consuming module in LASSI. In this design, we have looked at multiple tactics and methods to reduce the post-processing computation time. These include:
- Streaming from the TLS Scanner – if it were possible to stream data from the TLS scanner hardware, the post-processing module could begin data reduction without having to wait for the entire scan. While not possible with the current API, we are investigating if updates from the vendor (Leica) might give us this capability. Beginning smoothing operations before the scan is complete requires streaming the data from the scanner; otherwise, we must wait for the TLS measurement data to be completed.
- The LASSI DAQ current has the ability to stream the data [TODO: LASSI DAQ 0MQ reference here]; the post-processing module will read the TLS measurement data from this 0MQ stream, eliminating the slowdown that would be caused by writing to disk or accessing the data via NFS.
- The post-processing module is designed to run on a GPU-enabled host so that we can accelerate calculations using that hardware. By adding multiple GPUs (i.e. increasing the resources available), we may be able to obtain further performance gains. [TODO: Prototype this, see if it’s feasible.]
- Currently, the post-processing prototype is being written in Python; as we finalize the design, part or all of the module may see performance improvements by being implemented in C++ or other compiled language.
- Another option that we are considering is implementing the post-processing calculations using PyCUDA (https://documen.tician.de/pycuda/). This may allow us to more easily leverage the GPU hardware for performance increases.
- The current post-processing prototype writes the data to disk between the various stages to facilitate easier debugging and analysis. The finalized version of the module will keep data in memory between each step in the data flow, eliminating this slowdown.
### Related Views
TBD
## Manager Sequence View
### Primary Presentation

Turtle/
ScanCoordinator
Lassi DAQ
Lassi Manager
Pipeline
Active
Surface

Begin

Run scan

TLS

Deploy/
Power up
Ready

Start TLS Scan

Scanner Data

Scan Complete

Scanner Data

Scanner Data

Start pipeline processing

Complete

Pipeline done + Z’s

Update Z’s (non-ref scan only)

Reference Scan Information

Configure

Complete (Ref scan only)

### Element Catalog
When processing is requested, to the M&C system the manager will sequence through the standard manager states. A normal sequence might be:
1. Ready to Activating
2. Activating to Running
3. Running to Stopping
4. Stopping to Ready
The manager can indicate a fatal error by entering the Aborting state from any state except Ready.
Manager to Lassi_daq Sequencing
When processing is started (i.e. the Manager receives an activate via its Panel interface) the lassi_daq is sent configuration settings and told to begin a TLS scan. The lassi_daq controls the deploy/retract interface, so the lassi_daq will cause the TLS to power-up and deploy for measurement.
The lassi_daq will periodically check the TLS state to verify its availability. The lassi_daq will also wait for a (TBD) indication that the TLS has deployed and is ready to scan.
When the TLS is ready, the TLS is configured and sent a ‘start’ command. The TLS will sequence through its states of ‘preparing to scan’, ‘scanning’, ‘processing’ and ‘ready’. When lassi_daq detects the end of the scan, it transfers the scan data from the TLS, and publishes the data to both the data pipeline and to the Lassi Manager, which in turns writes the data into a fits file for archival.
The data pipeline is then given some contextual data (e.g. the reference scan information) and given the go-ahead for processing the new data. While the pipeline is processing, the lassi_daq commands the TLS to shutdown cleanly. After a prefined interval (perhaps 15 seconds), the lassi_daq cuts power to the TLS, and commands it to retract for normal observing.
Manager to Pipeline Sequencing
As noted above, the lassi_daq publishes the point cloud data to the pipeline, which is waiting for a ‘go-ahead’ from the lassi manager. When a successfully TLS scan has been acquired, the lassi manager provides the pipeline with the reference scan data, or indicates the current scan will be the next reference scan. The ‘go-ahead’ is given and the pipeline begins processing the scan.
Manager to Active Surface Sequencing
Once the data has been successfully processed, the Lassi Manager will set the (TBD) active surface manager Zernike parameter, which will convey the correction required to maintain the surface at an optimum position. Only the parameter is updated. The surface will move into position at the beginning of the next observation.
### Context Diagram
TBD
### Variability Mechanisms
None.
### Architecture Background
In order to best utilize the current control infrastructure of the GBT control system, the LASSI manager will be built. It will be responsible for:
1. receiving commands and parameter settings from the turtle server;
2. handing the states and status of the lassi_daq data acquisition program (which in turn manages the TLS itself);
3. handing the sequencing of TLS scan acquisition and sub-sequence pipeline processing;
4. relaying the pipeline computed results (adjustment Zernike coefficients) to the active surface manager;
5. archiving the raw TLS data into fits files;
6. retaining the necessary state between LASI TLS scans (e.g. the identity of the previous reference scan, and related data);
7. reporting Manager state transitions, and illiciting M&C error/status messages when necessary;
8. providing subsystem (e.g. lassi_daq, post-processing, etc.) progress as feedback to the turtle server;
9. aborting the processing if either requested by the user/turtle server or if an error is detected;
Manager Details
The GBT control system uses programs called ‘Managers’ which present a consitent interface and sequencing for sub-systems on the GBT. Sets of Managers are controlled via the ScanCoordinator which acts as the scan sequencing and coordination program. The turtle server communicates with the ScanCoordinator to initiate and end scans. A Lassi Manager will handle the TLS subsystems.
Managers contain ‘parameters’ which are the data for configuring specific items which control Manager and related subsystem behaviors. These are listed in the Appendix. [TODO: insert ref here]
In the case of a reference scan, the lassi manager should indicate a complete status once the TLS data has been acquired. This will allow observing to continue which the reference scan is being processed. There is no dependence (i.e. the active surface is not updated) on a reference scan. In contrast, when processing a non-reference scan is processed, the manager should not return to ready until the pipeline is finished processing and the active surface has been updated.
### Related Views
TBD
## Deployment View
### Primary Presentation

### Element Catalog
Elements
- LASSI DAQ – LASSI data acquisition component
- LASSI Post-Processing – LASSI post-processing software
- TLS Scanner – Leica hardware scanner
- Enclosure – hardware controlling mounting, weather enclosure, and other mechanical concerns
- Windows – computer running Windows 10; this is needed because the TLS Scanner only provides a .NET interface. This machine may also include GPU hardware, depending on the needs of the LASSI Post-Processing component.
- Linux – computer running RHEL7
- GBT M&C servers – monitor and control system for GBT. This is a collection of Linux machines, connected by a private network and coordinated by TaskMaster.
Relationships
- Ethernet link – physical Ethernet connection using Cat6e or optical fiber with media converters
- Intranet – TCP/IP network on the GBT.
### Context Diagram
TBD
### Variability Mechanisms
None.
### Architecture Background
Where ever possible, LASSI should be deployed on hardware running Red Hat Enterprise Linux; this is what the majority of the GBT M&C system runs on, and thus makes LASSI easier to maintain, modify, and integrate. The notable exception to this is the LASSI DAQ. The API provided by Leica for the TLS scanner is based on .NET, and must be run on Windows.
We explored ways of using the Leica API on Linux; unfortunately, some .DLLs provided by the scanner manufacturer caused illegal instructions when run under Mono. There may also be warranty or support issues from the manufacturer if we are not running on on officially supported platform. Given these issues, we have designed LASSI to be deployed with the DAQ running on a Windows host.
LASSI must be able to go from a commanded measurement to issuing commands to the GBT M&C system within the time constraints determined by the science goals. Since the TLS Scanner has fixed times for scanning, we anticipate the performance bottleneck to the the TLS Post-Processing component. As such, it may be deployed on and accelerated with GPU hardware.
The LASSI manager will be deployed on a host running other, similar managers for the GBT, and will have the ability to communicate with the rest of the M&C system as well as writing FITS files to record data in the same manner as other managers.
### Related Views
TBD
## Work Assignment View
### Primary Presentation
Component	Staff
LASSI DAQ	Joe Brandt
Post-Processing	Paul Marganian, Andrew Seymour
Manager	TBD
Turtle client/server	TBD

### Element Catalog
N/A
### Context Diagram
N/A
### Variability Mechanisms
N/A
### Architecture Background
Assignments based on expertise.
### Related Views
TBD
## Sequence View
### Primary Presentation

### Element Catalog
Elements
- Turtle client – user interface to the GBT M&C system, such as AstrID
- Turtle server – the observation management system that loads, edits, and validates Scheduling Blocks, submits them to the telescope for execution immediately or dynamically, and monitors the progress of execution.
- Manager – software that acts as a control interface for GBT hardware
- LASSI DAQ – software commanding the TLS scanner and transferring data to and from it. The output of this component will be data from the TLS measurement in (x, y, z, I) format.
- TLS scanner – Leica scanner hardware
- Post-Processing – GBO-developed software that takes in point clouds from the scanner, does any required data reduction, and returns calculated Zernike coefficients that describe the GBT active surface
- M&C – monitor and control system for GBT
Relationships
TBD
### Context Diagram
TBD
### Variability Mechanisms
None.
### Architecture Background
The expected sequence described in this view was chosen to mirror similar procedures already being used with the GBT, specifically the AutoOOF process. [TODO: insert reference to AutoOOF sequence diagram, etc. here.] It also allows us to store data from the calibration scan using the same locations and file format used to store other data from the GBT. By using existing infrastructure, including deployment hardware and existing software interfaces (e.g. the Manager base class), we take advantage of both in-house expertise and proven designs and components.
During development of this sequence diagram, we did recognize the potential for LASSI measurements to be a “blocking” operation due to structuring it as an observation, i.e. no other actions could be performed while a LASSI measurement was being performed. However, other operations on the GBT can already be commanded while not in control of the Scan Coordinator [TODO: example from Joe], and the LASSI project will follow a similar model.
One outstanding question for the LASSI sequence is whether the LASSI manager should block until the post-processing completes. [TODO: answer this question on subsequent iteration.]
### Related Views
TBD
# Relations Among Views
Each of the views specified in Section 3 provides a different perspective and design handle on a system, and each is valid and useful in its own right. Although the views give different system perspectives, they are not independent. Elements of one view will be related to elements of other views, and we need to reason about these relations. For example, a module in a decomposition view may be manifested as one, part of one, or several components in one of the component-and-connector views, reflecting its runtime alter-ego. In general, mappings between views are many to many. Section 4 describes the relations that exist among the views given in Section 3. As required by ANSI/IEEE 1471-2000, it also describes any known inconsistencies among the views.

## General Relations Among Views
CONTENTS OF THIS SECTION: This section describes the general relationship among the views chosen to represent the architecture. Also in this section, consistency among those views is discussed and any known inconsistencies are identified.

 TBD
## View-to-View Relations
CONTENTS OF THIS SECTION: For each set of views related to each other, this section shows how the elements in one view are related to elements in another.

TBD
## Use Case Mapping
The following table lists the use cases as described in the Architecture Plan, and describes the components of the LASSI architecture that handle each case.
Use Case	Views	Architecture solution and notes
Execute AutoOOF		The LASSI system is not responsible for the initial AutoOOF scans; that data and the initial corrections to the active surface are commanded by AstrID.
Conduct initial TLS measurement	, 3.3, 3.6, 3.9	The initial TLS measurement exercises the entire LASSI system, beginning with AstrID requesting the measurement be taken and ending with processed data that can be used to calculate Zernike polynomials.
Store TLS results	TBD	Storage between the initial scan and the difference has not been considered.
Compare TLS measurements	3.6	Calculating the differences between the scans is done by the LASSI post-processing module, and results in a calculated Zernike polynomial that can be given to the GBT M&C active surface manager.
Change shape of prime reflector	, 3.6	After LASSI has calculated the Zernike polynomial needed to return the active surface to its desired shape, it provides that data to the GBT M&C system, which is responsible for incorporating that data with other corrections (gravity, thermal variations, etc.) and moving the panels as needed.

# Referenced Materials
Architecture Plan	Whitehead, Enhancing GBT Metrology to Support High Resolution 3mm Molecular Imaging for the U.S. Community Architecture Plan, <https://sharepoint.nrao.edu/pmd/projects/613%20GBT%20Metrology/Software/Architecture%20Plan/613%20GBT%20Metrology%20Architecture%20Plan%20v01.docx?Web=1>
Barbacci 2003	Barbacci, M.; Ellison, R.; Lattanze, A.; Stafford, J.; Weinstock, C.; & Wood, W. Quality Attribute Workshops (QAWs), Third Edition (CMU/SEI-2003-TR-016). Pittsburgh, PA: Software Engineering Institute, Carnegie Mellon University, 2003. <http://www.sei.cmu.edu/publications/documents/03.reports/03tr016.html>.
Bass 2003	Bass, Clements, Kazman, Software Architecture in Practice, second edition, Addison Wesley Longman, 2003.
Clements 2001	Clements, Kazman, Klein, Evaluating Software Architectures: Methods and Case Studies, Addison Wesley Longman, 2001.
Clements 2002	Clements, Bachmann, Bass, Garlan, Ivers, Little, Nord, Stafford, Documenting Software Architectures: Views and Beyond, Addison Wesley Longman, 2002.
ConOps	Bloss et al, Enhancing GBT Metrology to Support High Resolution 3mm Molecular Imaging for the U.S. Community Concept of Operations, <https://sharepoint.nrao.edu/pmd/projects/613%20GBT%20Metrology/Systems%20Engineering/Concept%20of%20Operations/613%20GBT%20Metrology%20Concept%20Documents%20v001_3%20181009.docx?Web=1>

# Directory
## Index

## Glossary
The following specialized terms are used in the LASSI project.
Term	Definition
Calibration scan	An observation that uses the GBT’s Scan Coordinator, but does not record data from an astronomical source. Calibration scans are used to exercise the antenna, receivers, etc. and record information, but do not observe anything “on the sky”.
GBT observation	The process of obtaining astronomical information using the GBT, or the data generated from that process. (To avoid confusion, please use this in place of "scan", which is ambiguous.)
LASSI DAQ	Software to obtain data from the TLS scanner and provide it in a useful form to other parts of the LASSI system.
LASSI Post-Processing	Software to take data from a TLS measurement and perform data reduction needed by other parts of the system, including the GBT M&C.
Scan Coordinator	GBT manager that marshals other managers in the M&C system, and ensures that commands are issued in the correct sequence.
software architecture	The structure or structures of that system, which comprise software elements, the externally visible properties of those elements, and the relationships among them [Bass 2003]. "Externally visible” properties refer to those assumptions other elements can make of an element, such as its provided services, performance characteristcs, fault handling, shared resource usage, and so on.
TLS	Terrestrial Laser Scanner i.e. the Leica device used in the LASSI project.
TLS measurement	A data set about the shape of the GBT's primary or secondary reflector, generated by the Leica laser scanner. (To avoid confusion, please use this in place of "scan", which is ambiguous.)
view	A representation of a whole system from the perspective of a related set of concerns [IEEE 1471]. A representation of a particular type of software architectural elements that occur in a system, their properties, and the relations among them. A view conforms to a defining viewpoint.
Ygor	Base system for the GBT M&C
Zernike polynomial	A means of describing the shape of a parabola or lens with an n-th order polynomial. For more information, see https://en.wikipedia.org/wiki/Zernike_polynomials

## Acronym List

API	Application Programming Interface; Application Program Interface; Application Programmer Interface
DAQ	Data Acquisition
LASSI	Laser Antenna Surface Scanning Instrument
M&C	Monitor and Control
SAD	Software Architecture Document
TBD	To be determined
UML	Unified Modeling Language

Design History
This section documents design questions that arose during development of LASSI, as well as the decisions made and other options considered. Not all of these issues impact the software architecture directly, but are provided here for reference and context.
Why are we calculating Zernike polynomials to model the antenna surface? Wouldn't it be easier to use the data from the scanner to determine the position of the panels, and adjust accordingly?
The ultimate goal of LASSI is to measure the actual shape of the GBT surface and command the M&C system to return it to the desired shape. One solution would be to measure the location of each panel corner, calculate the difference from the desired location, and move the panel by that amount. Unfortunately, this approach relies on extremely precise measurements of individual points on the surface, something that is difficult to achieve in practice.
Instead of attempting to measure individual points, LASSI measures the entire surface, generating a 'point cloud' of several million measurements all over the surface of the GBT. (Note that due to the design and placement of the scanner, these points are not regularly distributed.) While an individual point may not give us the desired precision, the average over a large number of these data points does yield an accurate description of the surface. Using the moving average of the LASSI point cloud to calculate the Zernike polynomial coefficients essentially acts a as an additional low-pass filter, removing noise from the data set and providing a precise calculation of the dish shape.
Additionally, the GBT M&C system can accept Zernike coefficients as inputs when commanded to change the shape of the primary surface, making this step of the LASSI measurement/correction cycle simpler.
Why do we want LASSI to be able to measure the GBT's subreflector?
Measuring the subreflector and detecting any deformities or flaws allows us to model the entire optical system of the GBT, and use that information to minimize errors in the final signal captured by the receiver. This the GBT primary reflector has an active surface, we can use it to correct for errors in the subreflector. Similar to someone wearing glasses, the first lens (or in our case, prime reflector) corrects any errors introduced by the second lens (the subreflector), so that the distortion is not seen in the final product.
What is the "point cloud" that Leica refers to? Where is this data stored?
Leica documentation, engineers, and other resources may refer to the "point cloud", which is the data generated by the scanner -- the points it measures. These are stored in the .ptx files generated by the instrument. The .ptx files are flat (plain text) files.
What is the "noise budget", and what impacts this value?
The terms "noise budget" and "error budget" both refer to the active surface RMS (σ). This value is the amount of deviation in the active surface -- how far it may be from an ideal parabolic shape, beyond which the GBT cannot perform desired high-frequency observations. Many values impact this final number, including (but not limited to) precision and accuracy of the actuators, gravitational and thermal corrections, and the LASSI measurements themselves. Currently, the project aims to keep this error budget within 200 microns.
LASSI DAQ Command Protocol Details
The TLS controller will listen for command at the local port 55666. A URL would look like 'tcp://lassi.ad.nrao.edu:55666'. The command/response link are ZMQ_REQ (request) at the client end and a ZMQ_RPY (reply) at the lassi_daq (TLS scanner controller) end.
Commands and data follow the ZMQ convention of a message header followed by 0 or more data frames. ZMQ handles the details of grouping message boundaries. The headers are always a Mesgpack encoded string, which in some cases is enough to convey the message intent (e.g a start message header is simply ‘StartScan’, with no following data). Commands are always acknowledged with a Mesgpack encoded OK_ERROR data structure which conveys several items such as error code, error message string, and device status.
The lassi_daq also has a ZMQ_PUB (publish) interface which the scanner status and data are published on. A client must use a ZMQ_SUB socket to subscribe to the published data. The URL would be 'tcp://lassi.ad.nrao.edu:55668'. In addition to data, state/status changes are also published asynchronously (meaning without a query command) on the publish interface.
## Command Protocol
The following commands are used to initiate/configure the TLS controller. Where items are quoted, the data is UTF-8 encoded strings. Where the word ‘struct’ occurs, the data is encoded using msgPack. The ASCII drawn boxes shown in each command section denote a ZMQ frame boundary. Data types are described in the following section.
### Start Scan
  +-----------------+
  | "StartScan" |
  +-----------------+
The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
  | struct ScanInfo |
  +-----------------+
### Stop Scan
  +-----------------+
  | "StopScan" |
  +-----------------+
The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
### Pause Scan
  +-----------------+
  | "PauseScan" |
  +-----------------+
  * The reply will be a frame of:
  +-----------------+
  | OK || ERROR |
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
### Resume Scan
  +-----------------+
  | "ResumeScan" |
  +-----------------+
The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
  Note: Only scans which have been 'paused' can be resumed. A scan which has been stopped cannot be resumed.
### Export Scan
  +-----------------+
  | "Export" |
  +-----------------+
The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
This will cause the last scan taken to be exported to the pub/sub interface.
### Configure Scan
  This updates the settings for:
- scanner project
- resolution (enum)
- quality (int)
- sensitivity (enum)
- scan mode (enum)
- Field of view (az_center, el_center, az width, el width)
The above info is packed into a message pack encoded struct ConfScan.
  +-----------------+
  | "Configure" |
  +-----------------+
  | struct ConfScan |
  +-----------------+
The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
### Move to Azimuth
  +-----------------+
  | "MoveAz" |
  +-----------------+
  | struct MoveToAz |
  +-----------------+

  * The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
### Get Status
  +-----------------+
  | GETSTATUS |
  +-----------------+
  * The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
### Export Previous Scan From Scanner
  This should export a scan from an arbitrary project. Some scan info may not be available however.
  The ScanFrom struct contains:
- The scanner project name
- The scanner scan number

  +-----------------+
  | "ExportFrom" |
  +-----------------+
  | struct ScanFrom |
  +-----------------+
* The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+

### Delete Scan on the TLS device
  This will delete a scan stored on the device.

  +-----------------+
  | "DeleteFrom" |
  +-----------------+
  | struct ScanFrom |
  +-----------------+
* The reply will be a frame of:
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
### Get Result (pyTLS local method)
  This method allows subscribed data to be accessed without a callback.
### Data Published on the ZMQ_PUB interface
  When a 'EXPORT' or 'EXPORTFROM' command is received, two elements are published. First a frame labeled 'HEADER' is sent which has all the scan configuration information. This is immediately followed by a frame labeled 'DATA'. These are intended for use by the fits writer daemon.

  +-----------------+
  | "HEADER" |
  +-----------------+
  | struct FitsHead |
  +-----------------+
  +-----------------+
  | "DATA" |
  +-----------------+
  | struct FitsData |
  +-----------------+

  On each TL scanner state change, the new state is published.
  +-----------------+
  | STATUS |
  +-----------------+
  +-----------------+
  | struct OK_ERROR |
  +-----------------+
  * This will have the scanner state info.
  * It may also contain any error messages present on the device.

  An application may also subscribe to one or more of the data columns. When a scan is exported, the union of all subscribed data columns is published. The arrays are custom encoded to support msgpack_numpy which decodes directly into a NumPy array for speed. Note: This encoding may/will suffer from incompatible endianness. If that is the case, there is a NumPy method which can byte-swap an entire array.
The possible arrays are (listed by message headers):
- X_ARRAY – the X component of data acquired from az,el,r measurements
- Y_ARRAY – the Y component of data acquired from az,el,r measurements
- Z_ARRAY – the Z component of data acquired from az,el,r measurements
- AZ_ARRAY - instrument relative raw horizontal angles
- EL_ARRAY - instrument relative raw elevation angles
- R_ARRAY - radial distance measurements
- I_ARRAY - pixel intensity
### Subscribing to Data
  The subscribe method takes the name, or list of names of the arrays of interest. It also includes an optional argument of a callback, which should have a signature of string data, numpy_array. e.g:
  def mycallback(name, numpy_array):
      pass

  subscribe("X_ARRAY", mycallback)
Note that the mycallback entry may be None. In that case, the subscribed data can be accessed using the get_result(name) method.

## Subscription Details
When a subscription request is processed a number of steps happen:
1. The name is validated
2. If provided, the callback is checked for the correct signature
3. If the callback subtask has not been started it is started.
4. A REQ/RPY connection is made from the call context to the callback subtask to announce the subscription. In response, the subtask calls the ZMQ setsockopt() with the subscription filter. This sets up the ZMQ subscription filter.
5. The last step is to send a subscribe_array request to the lassi_daq, to announce that the connection is interested in the subscribed data.
The reason for the dual sets of filtering is to minimize publishing traffic. One could argue that the step 4 is unnecessary, since step 5 prevents uninteresting data to be published in the first place.
### Protocol Data Structures
struct ScanInfo
{
    int scan_number;
};
Used by StartScan.

struct OK_ERROR
{
    string error_message;
    int state;
    bool is_ok;
};
Used in all command responses to acknowledge whether or not the command succeeded, any detailed error messages, and the current scanner state.

struct MoveToAz
{
    float move_to_az;
};
Used by the Move_Az command.

struct ConfScan
{
    string project;
    int scan_resolution;
    int scan_quality;
    int scan_sensitivity;
    int scan_mode;

    float center_az;
    float center_el;
    float fov_az;
    float fov_el;
};

Used by the Configure command.

struct FitsHeader;
struct FitsData;

struct ScanFrom
{
    string project;
    int scan_number;
}
Used by the ExportFrom and DeleteFrom commands.

LASSI Manager Parameters
Manager Base Parameters
Not listed here are a set of 16 basic parameters which are common to all managers.
Reference Scan Identity
The post-processing module will use a reference scan data to compute changes required to the surface. The manager will retain the identifiers necessary to convey the reference scan identity to the pipeline, or indicate that the scan being requested is an actual reference scan.
TLS Acquisition Configuration
The basic controls for the TLS device are resolution, optimize for range vs. speed, sensitivity, field of view (FOV), etc.
Processing Status/Progress
As processing proceeds, a feedback parameter will update to provide items upstream (i.e. turtle server and user) on the progress of the processing.
Interfaces
The manager will interface with the GBT observing systems such as the turtle server via the standard M&C PanelRemote interface. Other interfaces are:
1. lassi_daq, via the protocol described later in this document.
2. The data analysis pipeline – interface TBD
3. The active surface manager, using a standard PanelRemote interface.